**DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA**

**MINISTRY OF HEALTH**

**REPLACEMENT OF OLD LIFTS AND SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF NEW BED LIFTS AT MAIN OPERATION THEATER – TEACHING HOSPITAL - PERADENIYA**

**(CONTRACT NO:THD/ AD/ 23/ 2025)**

**ADDENDUM – 01**

**June 2025**

……………………………………….

……………………………………….

……………………………………….

**MINISTRY OF HEALTH**

**REPLACEMENT OF OLD LIFTS AND SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF NEW BED LIFTS AT MAIN OPERATION THEATER – TEACHING HOSPITAL - PERADENIYA**

**CONTRACT NO: THD/ AD/ 23/ 2025**

**ADDENDUM - 01**

Dear Sir/ Madam,

Following addendum is issued in accordance with “Instructions to Bidders” Clause 10 of Bidding Document already issued to you.

This addendum 01 includes issues raised during pre-bid meeting held on 02.06.2025. Further it also carries required amendments identified to the bidding document.

Please acknowledge receipt of this addendum by returning attached letter duly signed along with your Bid.

Thank You

Yours faithfully

………………………………….

Director,

Teaching hospital,

Peradeniya.

|  |  |  |  |
| --- | --- | --- | --- |
| **No.** | **Reference in Bidding****Document**  | **Amendment** | **Remarks** |
|  | **SECTION 06 – INVITATION FOR BID (VOLUME II & III)**  |  |
| 01 | 1. **Construction Period**

Page 2 | **Delete “**Construction period is 91 Days.”**Insert “**Construction period is 119 Days.” |  |
|  | **SECTION 06 – BILL OF QUANTITIES (VOLUME II)** |  |
| 02 | **BOQ Item 2.0**Page 39 | **Delete** “Supply and installation of **MR Type Bed Lift of capacity 1350kg,60m/min** for TWO stops (from Ground to First floor), with battery backup and all other accessories.” **Insert** “Supply and installation of **MR Type Bed Lift of Minimum capacity 1350kg,60m/min** for TWO stops (from Ground to First floor), with battery backup and all other accessories.”  |  |
|  | **SECTION 07 – BILL OF QUANTITIES (VOLUME III)** |  |
| 03 | **BOQ Item 2.0**Page 11 | **Delete** “Supply and installation of MR Type Bed Lift of capacity 1350kg,60m/min for TWO stops (from Ground to First floor), with battery backup and all other accessories.” **Insert** “Supply and installation of **MR Type Bed Lift of Minimum capacity 1350kg,60m/min** for TWO stops (from Ground to First floor), with battery backup and all other accessories.”  |  |
|  | **SECTION 07 – TECHNICAL SCHEDULE (VOLUME II)** |  |
| 04 | * 1. **Rated capacity of lift**

Page 42 | **Delete “**As specified as 1350 kg”**Insert “**As specified as 1350 kg or above” |  |
|  | **SECTION 07 – TECHNICAL SCHEDULE (VOLUME III)** |  |
| 05 | * 1. **Rated capacity of lift**

Page 14 | **Delete “**As specified as 1350 kg”**Insert “**As specified as 1350 kg or above” |  |

........ June 2025

Director,

Teaching Hospital,

Peradeniya.

Dear Sir,

**REPLACEMENT OF OLD LIFTS AND SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF NEW BED LIFTS AT MAIN OPERATION THEATER – TEACHING HOSPITAL - PERADENIYA**

**CONTRACT NO: THD/ AD/ 23/ 2025**

**ADDENDUM - 01**

We hereby certify that ………. pages of addenda No 01 have been received by us and considered for pricing as a part of the Bidding Document in accordance with the “Instructions to Bidders” Clause 10 of the Bidding Document.

Yours Truly,

Signature of the Bidder: ………………………………………

Company Seal ……………………………………….

Date ……………………………

Note:

**Please enclose this letter with the “ORIGINAL” of Bid submission.**