DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA MINISTRY OF HEALTH

**REPLACEMENT OF OLD LIFTS AND SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF NEW BED LIFTS AT MAIN OPERATION THEATER – TEACHING HOSPITAL - PERADENIYA**

**(CONTRACT NO:THD/ AD/ 23/ 2025)**

**CLARIFICATION – 01**

Director, Teaching Hospital, Peradeniya.

 …………. June 2025

 ……………………………………….

 ……………………………………….

……………………………………….

**REPLACEMENT OF OLD LIFTS AND SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF NEW BED LIFTS AT MAIN OPERATION THEATER**

 **TEACHING HOSPITAL - PERADENIYA**

**CONTRACT NO: THD/ AD/ 23/ 2025**

 **CLARIFICATION - 01**

Dear Sir/ Madam,

Following clarifications sheet is issued in accordance with “Instructions to Bidders” Clause 09 of Bidding Document which has already been issued to you.

Please acknowledge the receipt of this clarification sheet by returning the attached letter duly signed along with your Bid.

**Volume 2**

|  |  |  |  |
| --- | --- | --- | --- |
| **No.** | **Reference in Bidding****Document****(1)** | **Question** **(2)** | **Clarification****(3)** |
| 1 |  Specification  |  What is the type of the Counterweights? | It must be cast-iron blocks enclosed in a steel frame; other materials, such as concrete, are not acceptable. |

Thank You.

Yours faithfully,

………………………………

………..... [Authorised Signature] ……................

………. [Name and title of Signatory] ………...

........ June 2025

........ June 2025

*………….[Authorised Officer]………..*

………………………………………

Dear Sir,

**REPLACEMENT OF OLD LIFTS AND SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF NEW BED LIFTS AT MAIN OPERATION THEATER**

**TEACHING HOSPITAL - PERADENIYA**

**CONTRACT NO: THD/ AD/ 23/ 2025**

We hereby certify that 04 pages of Clarification No. 01 have been received by us and considered for pricing as a part of the Bidding Document.

Yours Truly,

Signature of the Bidder: ………………………………………

Company Seal ……………………………………….

Date ……………………………

**Please enclose this letter with the “ORIGINAL” of Bid submission.**